## TIKOKINO SCHOOL

11/14

## PROPERTY

### PROCEDURE – Sewage System

GUIDELINES:

In early 2013 the sewage system at Tikokino School was upgraded, and a new 5 stage Oasis Clearwater Aerated Wastewater Treatment System was put in.

Contact Wastewater Sew-Lootions Ltd phone 06 8733004 (Murray McKinnon) to service the sewage system 6 monthly.

See School House for details of the Septic Tank for the school house.