# NAG 4

## TIKOKINO SCHOOL

3/14

### PROCEDURE – WATER SYSTEM MAINTENANCE

GUIDELINES:

School water is to be tested on a quarterly basis as per Procedure.

The Principal or delegated member is responsible for filing water testing results online at µhttp://abc.argest.com§ .

Then enter our school’s unique login and password:

Once logged on, the schools results can be entered. If an queries, please call 0800 274 378 (ARGEST)

Water maintenance is as per Appendix A – 2 of the PHRMP manual and to include:

water testing

checking the UV lamp intensity alarm on a weekly basis

replacing the filter cartridge on a quarterly basis

replacing the UV and full maintenance check of the system annually

The dates that these checks are completed are to be recorded in the PHRMP manual.

The key to the deep well bore cover and the new pump shed is in the office cupboard.

The wheel valve for the water tank by the dental clinic is in the locked pump shed in the plastic bags that contain the manuals for the pumps.

Tikokino School Water System Maintenance

Each quarter:	Water Testing

Watertesting Hawke’s Bay, 500 Williams St, Mahora, Hastings 4120.

Contact: Nessie Valler 	Telephone 06 870 6449

Email: µNessie@watertestingHB.co.nz§

Every Term:		Water Filter

Cartridge replacement

Available from

Harris Machinery, Hastings

Every Year:		UV  Service

Lamp replacement if necessary

Available from

Panton Plumbing, 107 Stoneycroft St, Hastings  06 876 5057

(Rex 021 459166) or (Robert 021 470594)